## ProyeccionDemanda
[13 empty] | 0.2466% | Tasa Mensual equivalente con 3% Anual
0.08295%
DEMANDA CLIENTES REGULADOS | [12 empty] | 0.4074%
EMPRESA DISTRIBUIDORA: ELECTRO ORIENTE S.A. (S.E. Belaunde Terry, Cutervo y Cáclic)
Mes | Demanda Histórica | Demanda al 3%** |  | Demanda al 1%** |  | Demanda al 5%** |  |  | POTENCIA CONTRATADA (PC) TODOS SUMINISTRADORES
[9 empty] | min | PC Varible | max
| MW | MW |  | MW |  | MW |  |  | MW | MW | MW
2018-11-01 | 49.242 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2018-11-01 |  | 0
2018-12-01 | 48.81 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2018-12-01 |  | 0
2019-01-01 | 50.9852 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-01-01 |  | 0
2019-02-01 | 43.87 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-02-01 |  | 0
2019-03-01 | 56.66 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-03-01 |  | 0
2019-04-01 | 54.88 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-04-01 |  | 0
2019-05-01 | 49.64 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-05-01 |  | 0
2019-06-01 | 40.31 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-06-01 |  | 0
2019-07-01 | 43.92 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-07-01 |  | 0
2019-08-01 | 46.49 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-08-01 | 37 | 0 | 56
2019-09-01 | 47.9 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-09-01 | 37 | 0 | 56
2019-10-01 | 50.5 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-10-01 | 37 | 0 | 56
2019-11-01 | 48.43 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-11-01 | 37 | 0 | 56
2019-12-01 | 55.97 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2019-12-01 | 37 | 0 | 56
2020-01-01 | 41.5 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2020-01-01 | 38 | 0 | 58
2020-02-01 | 52.26 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2020-02-01 | 38 | 0 | 58
2020-03-03 | 52.94 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2020-03-03 | 38 | 0 | 58
2020-04-03 | 34.25 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2020-04-03 | 38 | 0 | 58
2020-05-04 | 35.24 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2020-05-04 | 38 | 0 | 58
2020-06-04 | 50.641 | 48.2109 |  | 48.2109 |  | 48.2109 |  | 2020-06-04 | 38 | 0 | 58
2020-07-05 | 57.99 | 48.2109 | 48.2109 | 48.2109 | 48.2109 | 48.2109 | 48.2109 | 2020-07-05 | 38 | 0 | 58
2020-08-05 |  |  | 48.3298 |  | 48.2509 |  | 48.4073 | 2020-08-05 | 38 | 0 | 58
2020-09-05 |  |  | 48.449 |  | 48.2909 |  | 48.6045 | 2020-09-05 | 38 | 0 | 58
2020-10-06 |  |  | 48.5684 |  | 48.3309 |  | 48.8025 | 2020-10-06 | 38 | 0 | 58
2020-11-06 |  |  | 48.6882 |  | 48.371 |  | 49.0013 | 2020-11-06 | 38 | 0 | 58
2020-12-07 |  |  | 48.8083 |  | 48.4112 |  | 49.201 | 2020-12-07 | 38 | 0 | 58
2021-01-07 |  |  | 48.9287 |  | 48.4513 |  | 49.4014 | 2021-01-07 | 39 | 0 | 60
2021-02-07 |  |  | 49.0494 |  | 48.4915 |  | 49.6027 | 2021-02-07 | 39 | 0 | 60
2021-03-10 |  |  | 49.1703 |  | 48.5317 |  | 49.8048 | 2021-03-10 | 39 | 0 | 60
2021-04-10 |  |  | 49.2916 |  | 48.572 |  | 50.0077 | 2021-04-10 | 39 | 0 | 60
2021-05-11 |  |  | 49.4132 |  | 48.6123 |  | 50.2114 | 2021-05-11 | 39 | 0 | 60
2021-06-11 |  |  | 49.535 |  | 48.6526 |  | 50.416 | 2021-06-11 | 39 | 0 | 60
2021-07-12 |  |  | 49.6572 |  | 48.693 |  | 50.6214 | 2021-07-12 | 39 | 0 | 60
2021-08-12 |  |  | 49.7797 |  | 48.7334 |  | 50.8276 | 2021-08-12 | 39 | 0 | 60
2021-09-12 |  |  | 49.9024 |  | 48.7738 |  | 51.0347 | 2021-09-12 | 39 | 0 | 60
2021-10-13 |  |  | 50.0255 |  | 48.8143 |  | 51.2426 | 2021-10-13 | 39 | 0 | 60
2021-11-13 |  |  | 50.1489 |  | 48.8547 |  | 51.4514 | 2021-11-13 | 39 | 0 | 60
2021-12-14 |  |  | 50.2726 |  | 48.8953 |  | 51.661 | 2021-12-14 | 39 | 0 | 60
2022-01-14 |  |  | 50.3965 |  | 48.9358 |  | 51.8715 | 2022-01-14 | 20 | 0 |  | Adenda Nº 4
2022-02-14 |  |  | 50.5208 |  | 48.9764 |  | 52.0828 | 2022-02-14 | 20 | 0
2022-03-17 |  |  | 50.6454 |  | 49.0171 |  | 52.295 | 2022-03-17 | 20 | 0
2022-04-17 |  |  | 50.7703 |  | 49.0577 |  | 52.5081 | 2022-04-17 | 20 | 0
2022-05-18 |  |  | 50.8956 |  | 49.0984 |  | 52.722 | 2022-05-18 | 20 | 0
2022-06-18 |  |  | 51.0211 |  | 49.1391 |  | 52.9368 | 2022-06-18 | 20 | 0
2022-07-19 |  |  | 51.1469 |  | 49.1799 |  | 53.1525 | 2022-07-19 | 20 | 0
2022-08-19 |  |  | 51.273 |  | 49.2207 |  | 53.369 | 2022-08-19 | 20 | 0
2022-09-19 |  |  | 51.3995 |  | 49.2615 |  | 53.5865 | 2022-09-19 | 20 | 0
2022-10-20 |  |  | 51.5263 |  | 49.3024 |  | 53.8048 | 2022-10-20 | 20 | 0
2022-11-20 |  |  | 51.6533 |  | 49.3433 |  | 54.024 | 2022-11-20 | 20 | 0
2022-12-21 |  |  | 51.7807 |  | 49.3842 |  | 54.2441 | 2022-12-21 | 20 | 0
2023-01-21 |  |  | 51.9084 |  | 49.4252 |  | 54.4651 | 2023-01-21 | 41 | 0 | 60
2023-02-21 |  |  | 52.0365 |  | 49.4662 |  | 54.687 | 2023-02-21 | 41 | 0 | 60
2023-03-24 |  |  | 52.1648 |  | 49.5072 |  | 54.9098 | 2023-03-24 | 41 | 0 | 60
2023-04-24 |  |  | 52.2934 |  | 49.5483 |  | 55.1335 | 2023-04-24 | 41 | 0 | 60
2023-05-25 |  |  | 52.4224 |  | 49.5894 |  | 55.3581 | 2023-05-25 | 41 | 0 | 60
2023-06-25 |  |  | 52.5517 |  | 49.6305 |  | 55.5836 | 2023-06-25 | 41 | 0 | 60
2023-07-26 |  |  | 52.6813 |  | 49.6717 |  | 55.8101 | 2023-07-26 | 41 | 0 | 60
2023-08-26 |  |  | 52.8112 |  | 49.7129 |  | 56.0375 | 2023-08-26 | 41 | 0 | 60
2023-09-26 |  |  | 52.9415 |  | 49.7541 |  | 56.2658 | 2023-09-26 | 41 | 0 | 60
2023-10-27 |  |  | 53.0721 |  | 49.7954 |  | 56.495 | 2023-10-27 | 41 | 0 | 60
2023-11-27 |  |  | 53.2029 |  | 49.8367 |  | 56.7252 | 2023-11-27 | 41 | 0 | 60
2023-12-28 |  |  | 53.3342 |  | 49.8781 |  | 56.9563 | 2023-12-28 | 41 | 0 | 60
2024-01-28 |  |  | 53.4657 |  | 49.9194 |  | 57.1883 | 2024-01-28 | 8 | 0
2024-02-28 |  |  | 53.5976 |  | 49.9609 |  | 57.4213 | 2024-02-28 | 8 | 0
2024-03-30 |  |  | 53.7297 |  | 50.0023 |  | 57.6553 | 2024-03-30 | 8 | 0
2024-04-30 |  |  | 53.8623 |  | 50.0438 |  | 57.8902 | 2024-04-30 | 8 | 0
2024-05-28 |  |  | 53.9951 |  | 50.0853 |  | 58.126 | 2024-05-28 | 8 | 0
2024-06-28 |  |  | 54.1283 |  | 50.1268 |  | 58.3628 | 2024-06-28 | 8 | 0
2024-07-29 |  |  | 54.2618 |  | 50.1684 |  | 58.6006 | 2024-07-29 | 8 | 0
2024-08-29 |  |  | 54.3956 |  | 50.21 |  | 58.8394 | 2024-08-29 | 8 | 0
2024-09-29 |  |  | 54.5297 |  | 50.2517 |  | 59.0791 | 2024-09-29 | 8 | 0
2024-10-30 |  |  | 54.6642 |  | 50.2934 |  | 59.3198 | 2024-10-30 | 8 | 0
2024-11-30 |  |  | 54.799 |  | 50.3351 |  | 59.5614 | 2024-11-30 | 8 | 0
2024-12-31 |  |  | 54.9342 |  | 50.3768 |  | 59.8041 | 2024-12-31 | 8 | 0
2025-01-31 |  |  | 55.0697 |  | 50.4186 |  | 60.0478 | 2025-01-31 | 10 | 0
2025-02-28 |  |  | 55.2055 |  | 50.4605 |  | 60.2924 | 2025-02-28 | 10 | 0
2025-03-31 |  |  | 55.3416 |  | 50.5023 |  | 60.538 | 2025-03-31 | 10 | 0
2025-04-28 |  |  | 55.4781 |  | 50.5442 |  | 60.7847 | 2025-04-28 | 10 | 0
2025-05-29 |  |  | 55.6149 |  | 50.5861 |  | 61.0323 | 2025-05-29 | 10 | 0
2025-06-29 |  |  | 55.7521 |  | 50.6281 |  | 61.281 | 2025-06-29 | 10 | 0
2025-07-30 |  |  | 55.8896 |  | 50.6701 |  | 61.5306 | 2025-07-30 | 10 | 0
2025-08-30 |  |  | 56.0274 |  | 50.7121 |  | 61.7813 | 2025-08-30 | 10 | 0
2025-09-30 |  |  | 56.1656 |  | 50.7542 |  | 62.033 | 2025-09-30 | 10 | 0
2025-10-28 |  |  | 56.3041 |  | 50.7963 |  | 62.2858 | 2025-10-28 | 10 | 0
2025-11-28 |  |  | 56.443 |  | 50.8384 |  | 62.5395 | 2025-11-28 | 10 | 0
2025-12-29 |  |  | 56.5822 |  | 50.8806 |  | 62.7943 | 2025-12-29 | 10 | 0
Proyecciones de Demanda para final de Año del conjunto de barras
Belaúnde, Cutervo y Cáclic
Proyecciones con tasas anuales de :
|  | Mes | 1% | 3% | 5%
|  | 2020-12-01 | 48.4112 | 48.8083 | 49.201
|  | 2021-12-01 | 48.8953 | 50.2726 | 51.661
|  | 2022-12-01 | 49.3842 | 51.7807 | 54.2441
|  | 2023-12-01 | 49.8781 | 53.3342 | 56.9563
|  | 2024-12-01 | 50.3768 | 54.9342 | 59.8041
|  | 2025-12-01 | 50.8806 | 56.5822 | 62.7943
Formulas:
Mes = [Mes, row above]+31
Promedio 21 meses
Demanda Con 5%
Demanda Con 3%
Demanda Con 1%
Demanda real

## DemandaReal
| Potencias Facturadas a ELOR en puntos de Suministro | Demandas Reales Coincidentes con SEIN
| BARRA | Barras del Contrto PRO
MES | TOCACHE 138 KV | BELAUNDE 138 KV | CUTERVO 138 KV | CALCLIC 22.9 KV | Total Barras
2018-11-01 |  | 27.912 | 19.34 | 1.99 | 49.242
2018-12-01 |  | 27.99 | 18.89 | 1.93 | 48.81
2019-01-01 |  | 30.2486 | 18.7366 | 2 | 50.9852
2019-02-01 |  | 25.93 | 16.38 | 1.56 | 43.87
2019-03-01 |  | 31.81 | 17.92 | 6.93 | 56.66
2019-04-01 |  | 33.06 | 18.02 | 3.8 | 54.88
2019-05-01 |  | 28.26 | 18.19 | 3.19 | 49.64
2019-06-01 |  | 23.45 | 15.24 | 1.62 | 40.31
2019-07-01 |  | 22.37 | 18.58 | 2.97 | 43.92
2019-08-01 |  | 23.16 | 18.76 | 4.57 | 46.49
2019-09-01 |  | 25.64 | 17.34 | 4.92 | 47.9
2019-10-01 |  | 26.65 | 18.32 | 5.53 | 50.5
2019-11-01 |  | 25.48 | 18.06 | 4.89 | 48.43
2019-12-01 |  | 32.73 | 18.08 | 5.16 | 55.97
2020-01-01 |  | 18.35 | 18.04 | 5.11 | 41.5
2020-02-01 |  | 29.5 | 18.15 | 4.61 | 52.26
2020-03-01 |  | 30.27 | 18.07 | 4.6 | 52.94
2020-04-01 |  | 13.23 | 17.09 | 3.93 | 34.25
2020-05-01 |  | 13.23 | 18.08 | 3.93 | 35.24
2020-06-01 |  | 28.242 | 17.718 | 4.681 | 50.641
2020-07-01 |  | 34.86 | 18.48 | 4.65 | 57.99
|  |  |  | Promedio | 48.2109
|  |  |  | Minimo | 34.25
|  |  |  | Máximo | 57.99

## TOTAL (hidden)
ANEXO
DEMANDA PROYECTADA | [8 empty] | #REF!
EMPRESA DISTRIBUIDORA
Mes | Demanda Clientes regulados | Demanda Clientes Libres | POTENCIA CONTRATADA (**) |  |  | Generación Propia | POTENCIA POR CONTRATAR CLIENTES REGULADOS |  |  | POTENCIA POR CONTRATAR CLIENTES LIBRES
|  |  | PCF | PCV | PCT |  | PCF | PCV | PCT | PCF | PCV | PCT
| MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW
(*) ene-15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
(*) feb-15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
(*) mar-15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
(*) abr-15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2015-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2016-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2017-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2018-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2019-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2020-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2021-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2022-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2023-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2024-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2025-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2026-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2027-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2028-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2029-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2030-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2031-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-01-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-02-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-03-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-04-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-05-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-06-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-07-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-08-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-09-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-10-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-11-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2032-12-01 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
NOTA:
Demanda mensual proyectada requerida del SEIN (MW), total de la empresa.
PCF, PCV y PCT: Potencia Contratada Fija, Potencia Contratada Variable y Potencia Contratada Total respectivamente (PCT=PCF+PCV) en MW con 3 decimales
(*) Los meses enero a abril 2015, incluir la demanda real. Se resta demanda de los clientes que se van.
(**) Según contratos suscritos y vigentes a la fecha. Incluye Generación Distribuida y retiros de demanda
OBSERVACION
En los primeros meses del presente año se ha presentado factores de coincidencia menores al promedio de .0.92 a 0.87, la cual debe considearse en la proyección de la demanda.
Se ha incluido proyectos de centrales hidráulicas propias que se prevé concluir su ejecución en las fechas indicadas.

## data (hidden)
Empresa | Unidades | 2016 Ene.-Set. | 2016 Oct.-Dic. | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 Ene.-Set. | 2031 Oct.-Dic. | 2032
Adinelsa | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electro oriente | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electrosur | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electro ucayali | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electropuno | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Seal | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electro sur este | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electronorte | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Enosa | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electrocentro | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Hidrandina | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Análisis del "Estudio determinación de la demanda de energía Periodo 2015-2032 - Informe Final "
Demandas no contratadas por las Distribuidoras Designadas Período 2016-2032 1/.
Empresa | Unidades | 2016 Ene.-Set. | 2016 Oct.-Dic. | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 Ene.-Set. | 2031 Oct.-Dic. | 2032
Electro oriente | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electrosur | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electro ucayali | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electropuno | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Seal | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electro sur este | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electronorte | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Enosa | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electrocentro | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Hidrandina | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1/. Los datos han sido obtenidos del archivo Excel : "Proyeccion de la demanda de energía 2015-2032 - Distribuidoras.xls", remitido por el Sr. Tito Saenz Manrique de Fonafe de fecha 2015-05-19.
|  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| MW | 0 | 224 | 164 | 170 | 115 | 68 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 284 | 344 | 60 | 60
|  | #REF! | #REF! | 2017: #REF!; 2018: #REF!; 2019: #REF!; 2020: #REF!; 2021: #REF!
|  | #REF! | #REF! | 2017: #REF!; 2018: #REF!; 2019: #REF!; 2020: #REF!; 2021: #REF!
|  | 2016 Ene.-Set. | 2016 Oct.-Dic. | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 Ene.-Set. | 2031 Oct.-Dic. | 2032
Total (A) | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Potencia no desinganda Fonafe (B) | MW | 0 | 224 | 164 | 170 | 115 | 68 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 284 | 344 | 60 | 60 | 1508
Diferencia (B-A) | MW | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Distribuidoras Designadas (A)+64 MW a ELOR año 2019 | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Potencia no desinganda Fonafe (B) | MW | 0 | 224 | 164 | 170 | 115 | 68 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 284 | 344 | 60 | 60
Saldo (A-B) | MW | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Distribuidoras Designadas (A)+64 MW a ELOR año 2019+ ADINELSA | MW | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Potencia no desinganda Fonafe (B) | MW | 0 | 224 | 164 | 170 | 115 | 68 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 284 | 344 | 60 | 60
Saldo (A-B) | MW | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Note on H4: Tania Valera Morey: Fecha probable de interconexión. Se adicionaría 64 Mw en el año 2019 hasta 102 Mw en el año 2032
Note on D5: Joel Mendoza: Demanda contratada =0 en este periodo

## Hoja1 (hidden)
Diferencia entre las potencias contratadas de los Contratos-G y los Contratos-D (MW)
Concepto | 2016 Ene.-Set. | 2016 Oct.-Dic. | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 al 2029 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 Ene- Set | 2031 Oct.-Dic. | 2032
Potencia contratada de Contratos-G | 200 | 484 | 484 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 344 | 60 | 60 | 8704 | 100% | 100% | 3344 | 100%
Potencia Asignada por Fonafe | 200 | 260 | 320 | 374 | 429 | 476 | 525 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 260 | 0 | 0 | 0 | 7196 | 82.67% |  | 2584 | 77.27%
Potencia No Asignada por Fonafe | 0 | 224 | 164 | 170 | 115 | 68 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 284 | 344 | 60 | 60 | 1508 | 17.33% |  | 760 | 22.73%
| 0 | 209.1373 | 123.3712 | 116.7077 | 56.0973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 505.3135 | 5.806% |  | 505.3135 | 15.11%
[23 empty] | 254.6865 | 7.616%